## HTD Template Information
Version | V1.3
Mandatory: All the cells in Column C in yellow have to be completed mandatorily.
Optional: The cells in blue are for multiple objects, that can be completed when needed.

## Test Case
Test Case | Instructions are provided as comments in the rows
ID
Name of the Test Case
Version management
Author
Version
Project
Date
Narrative
Description
Diagram reference
Function(s) under Investigation (FuI)
Description
Diagram reference
Object under Investigation (OuI)
Description
Diagram reference
Domain under Investigation (DuI)
Description
Diagram reference
Purpose of Investigation (PoI)
Description
Diagram reference
System under Test (SuT)
Description
Diagram reference
Functions under Test (FuT)
Description
Diagram reference
Test criteria (TCR)
Target Metrics (TM)
Variability Attributes (VA)
Quality Attributes (QA)
Qualification Strategy
Description
Diagram reference
Diagrams
Diagram id
Diagram name
Diagram URI type
Diagram URI value

## Test Specification
Test Specification | Instructions are provided as comments in the rows
ID
Reference to Test Case
Title of Test
Test Rationale
Description
Diagram Reference
Specific Test System
Description
Diagram Reference
Target measures
Input and output parameters
Test Design
Description
Diagram Reference
Initial system state
Evolution of system state and test signals
Other parameters
Temporal resolution
Source of uncertainty
Suspension criteria / Stopping criteria
Mapping to Research Infrastructure
Description
Diagram Reference
Diagrams
Diagram id
Diagram name
Diagram URI type
Diagram URI value

## Experiment Specification
Experiment Specification | Instructions are provided as comments in the rows
ID
Reference to Test Specification
Title of Experiment
Research Infrastructure
Description
Diagram Reference
Experiment Realisation
Description
Diagram Reference
Experiment Setup
Description
Diagram Reference
Experimental Design and Justification
Description
Diagram Reference
Precision of equipment and measurement uncertainty
Storage of experiment data
Diagrams
Diagram id
Diagram name
Diagram URI type
Diagram URI value

## 9
Test Case | Instructions are provided as comments in the rows
| ID | 9
| Name of the Test Case | Evaluation of congestion management in distribution grid
Version management
| Author | Tran The Hoang, Luigi Pellegrino, Quoc Tuan Tran
| Version | 1
| Project | Erigrid 2.0
| Date | 02/03/2021
Narrative
| Description | The distribution network has been becoming congested because of the introduction of bi-directional power flow (due to the increasing penetration of DERs), unpredictable and increased power demands for consumption by the residential consumers (due to the introduction of new forms of loads such as Heat Pumps, EVs, etc.). As a result, the distribution network operators (DSOs) need to focus on the challenge of balancing power supply and demand. Congestion in the distribution network refers to an overvoltage at the connection points as well as overloading of the network components. On the one hand, to mitigate the network strains, conventionally DSOs focus mainly on network development by installing new cables and transformers to meet the increasing power flows. Nonetheless, the distribution loads are spread over large geographically areas and in a distributed manner, making the upgrade of the network more financially infeasible in a short term. Another alternative solution is to develop grid congestion management approaches so that the network infrastructure can be utilized in a better way. There are two types of congestion management methods namely direct as well as indirect. The former technique is realized by performing load curtailment, local generation reduction, network re-configuration, new installation of Battery Energy Storage System (BESS). In contrast, the latter approach focuses on solving the optimization of electricity cost with the constraints ensuring the transformers/feeders not to be overloaded. The direct congestion management method in this test includes two stages. The first stage consists of using a machine learning method, such as support vector machine, multi-class classification, decision tree, ANN..., in order to build congestion classification models. Once congestion is detected, it has to be labeled to one of the following statuses: normal, alert, emergency, and critical depending on the output of the trained models. In the second step, DSOs will use the congestion labeling to calculate the expected flexibility portfolio. With the expected procurement cost, the flexibility available in the feeders/households can be used to solve the congestion problem. After comparing the results with different conditions, the best setting for the congestion management can be chosen. On the other hand, an indirect congestion management needs to be based on an online learning technique to emulate the demand flexibility of a network. As for emulating the demand flexibility, the concept of price elasticity of demand can be considered. Accordingly, demand flexibility during all time-periods of a day shall be treated as a commodity that can be substituted or complemented to each other. The objective of this Test Case is to evaluate different congestion management methods in distribution grid under the circumstance of high penetration of DERs and other active loads such as EVs, HPs ...
Diagram reference
Function(s) under Investigation (FuI)
| Description | Congestion management of the DMS controller - Direct approach: mitigating congestions by curtailment of load and local generation and by influencing the voltage level at the secondary side of a MV/LV transformer - Indirect approach: motivating individual prosumers with dynamic prices through intermediate market entities such as aggregators and retailers. DSOs also incentivize customers by providing compensations for their load reduction when needed to solve network congestions.
Diagram reference
Object under Investigation (OuI)
| Description | - DMS controller
Diagram reference
Domain under Investigation (DuI)
| Description | - Electrical domains - Control and ICT domain
Diagram reference
Purpose of Investigation (PoI)
| Description | - Characterization and comparison of different congestion management methods.
Diagram reference
System under Test (SuT)
| Description | In electric power domain: - DMS controller - DER (PV system) - Household appliances - Distribution transformer - Aggregator/consumer/prosumer controllers - Household controllers - Household appliance controllers - DER controllers In ICT domain: - Communication network
| Diagram reference | image1.png
Functions under Test (FuT)
| Description | - DMS congestion management functionality - DER power output control - Household appliances control of the aggregator/consumer/prosumer controller - Communication via ICT
Diagram reference
| Test criteria (TCR) | - Performance of the congestion management algorithm under realistic conditions - The transformer and feeders should not be overloaded - Reduction in the cost of flexibility procurement
| Target Metrics (TM) | - Accuracy of congestion prediction - Transformer overloading/loss of transformer life/Hot spot temperature of the transformer/transformer loss - Feeder overloading - Cost of congestion management - DER power curtailment - Household voltage profiles - Flexibility procured by DSO - Reduction in peak demand
| Variability Attributes (VA) | - Household consumption profiles - DER generation (weather condition) - Packet loss - Communication delay
| Quality Attributes (QA) | - Transformers/feeders are not overloaded - Voltage deviation within ±10% (typically for LV networks) - Reduction in DER power curtailment
Qualification Strategy
| Description | The test case is split in two TSs: one to characterize the direct method, one to characterize the indirect method. Then, the results will be analysed to compare the performances of the two methods. For the TSs, either a pure simulation or a co-simulation will be performed.
Diagram reference
Diagrams
| Diagram id | image1.png
| Diagram name | image1.png
| Diagram URI type | image
| Diagram URI value | image1.png

## TC9.TS01
Test Specification | Instructions are provided as comments in the rows
| ID | TC9.TS01
| Reference to Test Case | TC9
| Title of Test | Characterisation of direct method
Test Rationale
| Description | The goal of this Test is to evaluate the performance of a direct congestion management method. The results of the developed congestion forecasting model will be compared to the actual values to assess its accuracy. Afterwards, the efficiency of the method will be evaluated in terms of target metrics specified in the Test Case description.
Diagram Reference
Specific Test System
| Description | The Test System includes a LV (0.4 kV) network with realistic data provided by a local utility company. This network consists of three feeders with various loads and PV systems connected along the feeders.
| Diagram Reference | image2.png
| Target measures | Voltages, currents of all grid components.
| Input and output parameters | Weather conditions (hence DER production), grid topology, household load profiles, controllable generation production
Test Design
| Description | - Initialize the simulation, achieving a steady state condition; - Keep the simulation running with the feeding load and generation profiles in order to create several congestion conditions (peak of load or peak of generation) over the whole simulation run - Evaluate the results of the test in terms of transformer loading power, flexibility procured by the DSO, and procurement cost in two cases with and without the congestion management functionality in the DMS controller - Reinitialize the simulation and repeat the test with different congestion condition.
Diagram Reference
| Initial system state | Transformer and feeders loading in permissible ranges.
| Evolution of system state and test signals | The evolution of the congestion at the MV/LV transformer is illustrated in the figure below: The evolution of the system state is shown in the figures below: Solar profile: Wind profile:
| Other parameters | n/a.
| Temporal resolution | 15 minutes
| Source of uncertainty | Measurement uncertainty
| Suspension criteria / Stopping criteria | Low accuracy of the congestion classification model during the training process, i.e., less than 80%
Mapping to Research Infrastructure
Description
Diagram Reference
Diagrams
| Diagram id | image2.png | image3.png | image4.png | image5.png
| Diagram name | image2.png | image3.png | image4.png | image5.png
| Diagram URI type | image | image | image | image
| Diagram URI value | image2.png | image3.png | image4.png | image5.png

## TC9.TS02
Test Specification | Instructions are provided as comments in the rows
| ID | TC9.TS02
| Reference to Test Case | TC9
| Title of Test | Characterisation of indirect method
Test Rationale
| Description | The goal of this Test is to evaluate the performance of the indirect method considering the impact of the communication latency and packet losses on a LV grid congestion management.
Diagram Reference
Specific Test System
| Description | The Test System includes a LV (0.4 kV) network with realistic data provided by a local utility company. This network consists of three feeders with various loads and PV systems connected along the feeders. In addition to the above network, a market model is also developed.
| Diagram Reference | image2.png; image6.png
| Target measures | Voltages, currents of all grid components and grid services cost.
| Input and output parameters | Weather condition (hence DER production), grid topology, household load profiles, controllable generation production
Test Design
| Description | Initialize the simulation; achieve a steady state condition; trigger a congestion condition (peak of load or peak of generation); evaluate the response of the DMS controller; reinitialize the simulation and repeat the test with different congestion condition and the baseline.
Diagram Reference
| Initial system state | Transformer and feeders loading in permissible ranges.
| Evolution of system state and test signals | The evolution of the congestion at the MV/LV transformer is illustrated in the figure below: The evolution of the system state is shown in the figures below: Solar profile: Wind profile:
| Other parameters | n/a.
| Temporal resolution | 15 minutes
| Source of uncertainty | Measurement uncertainty
| Suspension criteria / Stopping criteria | Not converging of the optimization method.
Mapping to Research Infrastructure
Description
Diagram Reference
Diagrams
| Diagram id | image2.png | image6.png | image3.png | image4.png | image5.png
| Diagram name | image2.png | image6.png | image3.png | image4.png | image5.png
| Diagram URI type | image | image | image | image | image
| Diagram URI value | image2.png | image6.png | image3.png | image4.png | image5.png

## TC9.TS01.ES01
Experiment Specification | Instructions are provided as comments in the rows
| ID | TC9.TS01.ES01
| Reference to Test Specification | TC9.TS01
| Title of Experiment | Co-simulation for performance evaluation of direct congestion management method
Research Infrastructure
| Description | CEA
Diagram Reference
Experiment Realisation
| Description | The experiment is realized by performing a co-simulation setup between PowerFactory and Matlab using Mosaik as a master algorithm. The congestion management functionality and all the necessary control functions are modeled in Matlab. A realistic LV network with high penetration of PV systems is implemented in PowerFactory and is run in QuasiDynamic mode.
Diagram Reference
Experiment Setup
Description
| Diagram Reference | image7.png
Experimental Design and Justification
Description
Diagram Reference
| Precision of equipment and measurement uncertainty | - N/a
| Storage of experiment data | - hdf5 or csv files
Diagrams
| Diagram id | image7.png
| Diagram name | image7.png
| Diagram URI type | image
| Diagram URI value | image7.png

## TC9.TS02.ES02
Experiment Specification | Instructions are provided as comments in the rows
| ID | TC9.TS02.ES02
| Reference to Test Specification | TC9.TS02
| Title of Experiment | Simulation for performance evaluation of indirect congestion management method
Research Infrastructure
| Description | RSE
Diagram Reference
Experiment Realisation
| Description | The experiment is realized by performing a simulation in Matlab. All the necessary control functions are modeled with a script in Matlab. The local services market model is developed in Simulink and a realistic LV network with high penetration of PV systems is implemented in SimPowerSystem using phasor models. All the simulation components are managed by a master algorithm which setup all the experiment configurations (input, models parameters, etc.).
Diagram Reference
Experiment Setup
| Description | The whole experiment is performed in Matlab environment. In particular, the local services market model is developed in Simulink, the LV network model in SimPowerSystem while the control functions of the components are .m file integrated with SimPowerSystem. In order to validate the indirect congestion management, the flexibility provided by the local services market should be enough to avoid grid congestions.
| Diagram Reference | image8.png
Experimental Design and Justification
Description
Diagram Reference
| Precision of equipment and measurement uncertainty | Since the experiment is a simulation, this is not available.
| Storage of experiment data | All variable states are saved in a .mat file with a time-step of 15 minutes.
Diagrams
| Diagram id | image8.png
| Diagram name | image8.png
| Diagram URI type | image
| Diagram URI value | image8.png