## HTD Template Information
Version | V1.3
Mandatory: All the cells in Column C in yellow have to be completed mandatorily.
Optional: The cells in blue are for multiple objects, that can be completed when needed.

## Test Case
Test Case | Instructions are provided as comments in the rows
ID
Name of the Test Case
Version management
Author
Version
Project
Date
Narrative
Description
Diagram reference
Function(s) under Investigation (FuI)
Description
Diagram reference
Object under Investigation (OuI)
Description
Diagram reference
Domain under Investigation (DuI)
Description
Diagram reference
Purpose of Investigation (PoI)
Description
Diagram reference
System under Test (SuT)
Description
Diagram reference
Functions under Test (FuT)
Description
Diagram reference
Test criteria (TCR)
Target Metrics (TM)
Variability Attributes (VA)
Quality Attributes (QA)
Qualification Strategy
Description
Diagram reference
Diagrams
Diagram id
Diagram name
Diagram URI type
Diagram URI value

## Test Specification
Test Specification | Instructions are provided as comments in the rows
ID
Reference to Test Case
Title of Test
Test Rationale
Description
Diagram Reference
Specific Test System
Description
Diagram Reference
Target measures
Input and output parameters
Test Design
Description
Diagram Reference
Initial system state
Evolution of system state and test signals
Other parameters
Temporal resolution
Source of uncertainty
Suspension criteria / Stopping criteria
Mapping to Research Infrastructure
Description
Diagram Reference
Diagrams
Diagram id
Diagram name
Diagram URI type
Diagram URI value

## Experiment Specification
Experiment Specification | Instructions are provided as comments in the rows
ID
Reference to Test Specification
Title of Experiment
Research Infrastructure
Description
Diagram Reference
Experiment Realisation
Description
Diagram Reference
Experiment Setup
Description
Diagram Reference
Experimental Design and Justification
Description
Diagram Reference
Precision of equipment and measurement uncertainty
Storage of experiment data
Diagrams
Diagram id
Diagram name
Diagram URI type
Diagram URI value

## 13
Test Case | Instructions are provided as comments in the rows
| ID | 13
| Name of the Test Case | Characterization of hydrogen storage scale for power systems support and services.
Version management
| Author | Petra Raussi, Olli Himanen
| Version | 0.1
| Project | ERIGrid 2.0
| Date | 1.7.2021
Narrative
| Description | The amount of volatile renewable energy generated to the power system is rapidly increasing emphasizing the need for proper storage solutions to harness all the produced renewable energy. Without sensible storage solutions the overproduction of renewable energy cannot be used and we need to default back to fossil fuels. While for short term storage batteries and other storage solution in the power systems are crucial, in long term the most promising storage solutions can be found via sector coupling of electrical and hydrogen grids in combination with salvaging the heat produced in the conversion processes and fed to the district heating networks. This test case focuses especially at assessing the potential of different storage solutions based on their scale and cost benefits.
Diagram reference
Function(s) under Investigation (FuI)
| Description | Hydrogen storage provides a long-term solution for storing renewable energy and also potentially could participate to the reserve markets depending on the reaction time.
Diagram reference
Object under Investigation (OuI)
| Description | Hydrogen storages of different scales.
Diagram reference
Domain under Investigation (DuI)
| Description | - Electrical - Hydrogen - Heat
Diagram reference
Purpose of Investigation (PoI)
| Description | Characterize the optimal scale for hydrogen storage to be integrated with power systems and also provide potentially services to the reserve markets.
Diagram reference
System under Test (SuT)
| Description | SuT comprises of electrical grid, hydrogen network and heat network. The electrical system includes a medium (?) voltage grid with battery storage and renewable generation with integration to reserve markets. The hydrogen network will include fuel cells, conversion gas power plants, hydrogen storages. The heat network will include components for conversion to from the other networks and heat loads.
| Diagram reference | TC13_system_under_test.png
Functions under Test (FuT)
| Description | - electrical and hydrogen exchange at the PCC (point of common coupling) - storing of hydrogen and reaction time to access
Diagram reference
| Test criteria (TCR) | TCR aims to optimize the scale of the hydrogen storage to support power system and provide potentially balancing power to the power systems while also considering sustainability and cost benefits.
| Target Metrics (TM) | - electrical and hydrogen exchange - capacity of hydrogen storage - reaction time of exchange
| Variability Attributes (VA) | - capacity of hydrogen storage - material and life cycle aspects of the hydrogen - activation of exchange - demand (electrical and hydrogen) - renewable generation - electricity market price
| Quality Attributes (QA) | - sustainability of hydrogen storage lower than traditional solutions - cost of hydrogen storage not covered by earned profits
Qualification Strategy
| Description | There are three (3) Test Specifications to assess the scale of the hydrogen storage to meet the PoI. TS13.01 considers existing empty storage suitable for hydrogen, TS13.02 considers specifically extracted hydrogen storage and TS13.03 considers separate metal containers as a storage option.
Diagram reference
Diagrams
| Diagram id | TC13_system_under_test.png
| Diagram name | TC13_system_under_test.png
| Diagram URI type | image
| Diagram URI value | TC13_system_under_test.png

## 13.01
Test Specification | Instructions are provided as comments in the rows
| ID | 13.01
| Reference to Test Case | TC13
| Title of Test | Verification of large scale existing hydrogen storage for power system support
Test Rationale
| Description | The aim of the test is to verify the cost benefits and sustainability of large scale existing hydrogen storages for supporting and providing services to power systems.
Diagram Reference
Specific Test System
| Description | The system uses in particular an existing empty storage for hydrogen such as an empty natural gas storage or salt mine.
| Diagram Reference | TC13_system_under_test.png
| Target measures | The test is successfully passed if the hydrogen storage can meaningfully support the power system balancing and via this remain profitable and sustainable.
| Input and output parameters | - Point of common coupling measurements - setpoints for control of the hydrogen storage - Reaction time of storage - Profit
Test Design
| Description | This test needs to run in non-real-time for several years or seasons depending on the reaction time.
Diagram Reference
| Initial system state | - Networks operating on nominal power, temperature and pressure - Storages are empty
| Evolution of system state and test signals | - The storages are filled based on the overproduced renewable generation - Based on price signals the storages react and balance the power system
| Other parameters | -
| Temporal resolution | Dynamic, variable step size (seconds?)
| Source of uncertainty | -
| Suspension criteria / Stopping criteria | - Critical violation of network operation constraints - Networks becoming unstable
Mapping to Research Infrastructure
Description
Diagram Reference
Diagrams
| Diagram id | image1.png
| Diagram name | image1.png
| Diagram URI type | image
| Diagram URI value | image1.png